## Slide 1
Presented to obtain a diploma of de Mester Energetic
BENAMOR Lahcene 1 et BOUKHALFA Nesrine1 ; DOKKAR Boubekeur 1
1 Mechanical Engineering Department , Kasdi Merbah University Ouargla - 30 000 – Algeria
Passive cooling of microwove Relay shelter
Introduction:
Problematical:
Hypothesis:
Figure 3: passive cooling relies
Figure 2: passive coolinge application
L’objectif:
This work contains the energy audit and the introduction of cooling system in stand alone microwave relay of wired and wireless communication (Algeria telecom) which is located in neigboring of Ouargla city.
This study lead to reduce the internal temperature in the shelter, based on the installation of radiators system in the shelter.
The extension for studying others sites equiped by different passive cooling systems are planned in order to choose the most efficent tecnology according to local climate caracterstics,
Figure 1 : shelter Telecom
A study to reduce the internal temperature in the shelter of microwave relay by using passive cooling system.
The temporary storage of cooling energy in the night is sufficient to decrease the temperature in the day. This decrease can reach the restricted température of electronic devices.
The shelter is located in remote areas (desert ). All electical appliances and batteries and electronic devices generate heat during the operating time. In order to reduce energy consumption the cooling systems should be operate without electric supply.